## Slide 1
Skin Perfusion Photography
Guy Satat Christopher Barsi Ramesh Raskar
IEEE International Conference on Computational Photography 2014
MIT Media Lab
Camera Culture Group

## Slide 2
Computational Photography
↓
Medical Imaging
YouTube \ capillary flow 0002

## Slide 3: Skin Perfusion
Blood flow into tissue
Measurement:
  Based on the wave nature of light
Flow properties:
  Brownian movement
  Within capillaries
Interesting for:
- Wounds and burns recovery
- Plastic and reconstructive surgeries

## Slide 4: Imaging Blood Flow
Smith et al. 2006
Laser Speckle Contrast Imaging (LSCI)
Briers et al. 1996

## Slide 5: Other Applications of Skin Analysis
Capillary Structure
Lesion Analysis
Jimenez et al. 2010
Tsumura et al. 2003
Cotton et al. 1999
Moretti et al. 1959
Skin color

## Slide 6: Interference and Speckle
illum.
rough surface
scattering
intensity
Deconstructive
Constructive
Dark
Bright

## Slide 7: Speckle

## Slide 8
illum.
rough surface
scattering
intensity
Movement within the surface
 characteristic time scale:
Large  High contrast
Small  Low contrast
Interference and Speckle

## Slide 9
illum.
rough surface
scattering
intensity
Large  High contrast
Small  Low contrast
Interference and Speckle

## Slide 10: LSCI – Speckle to Speed Map Model
Movement correlation time:
Speed:
Local contrast:
Such that:
From speckle statistics:
Fercher et al. 1981

## Slide 11: The Problem of Subsurface Scattering
Wikipedia \ Skin
Skin is composed of multiple tissue layers

## Slide 12: The Solution: Global-Direct Separation
Global-Direct separation:
  Illuminate scene with multiple high frequency patterns
Skin
Tissue
illum.
sensor
measurement
+
direct
global
Nayar et al. 2006
Speckle is a natural high frequency pattern

## Slide 13: Simulation
Measurements
z
I
C
P
C
illum.
2
4
1
0
skin
tissue
Slow Fast
Speed Reconstruction
LSCI
LSCI
Sum of Measurements
(Baseline)
Direct component

## Slide 14: Sensitivity Analysis
SNR
# Illumination patterns
Speed estimation error
Direct
Baseline
# Illumination patterns
More illumination patterns  easier direct separation
Noise helps?

## Slide 15: Sensitivity Analysis
# Illumination patterns
Speed estimation error
Direct
Baseline
# Illumination patterns
Effect of blurring the internal reflections
Rear layer depth [mm]
Blurry subsurface reflection  easy global separation
Blurry subsurface reflection  reduced local contrast

## Slide 16: Data Acquisition

## Slide 17: Perfusion Extraction
LSCI
G-D
Direct Reflectance
Slow Fast

## Slide 18: Comparison to Baseline
Baseline
Direct Component
Slow Fast
Perfusion should be uniform
Direct shows significant speckle

## Slide 19: The Burn
Baseline
Direct Component
Slow Fast
No perfusion on dead skin

## Slide 20: Information in the Global and Direct
Direct
Global
Baseline
Slow Fast
Direct doesn’t contain veins
Blood speed in veins is ~0
Global has no speckle
Global is almost identical to baseline

## Slide 21: Synthesized Blood Flow Visualization

## Slide 22
Contributions and Future Work
Global-direct for skin perfusion reconstruction
Experiment driving theory:
  How to incorporate global-direct with diffraction?
New graphics usage models
Computational photography  Medical imaging